## Jane_D0_091725
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Formula | Measurement date
1 | 1 | 202509170001 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Calc 1: Crosstalk = Crosstalk correction where Label : US LUM 384 (cps)(1) channel 1 | 2025-09-17 15:07
70320 | 67080 | 72320 | 64200 | 71160 | 64320 | 68640 | 62240 | 65040 | 63600 | 68960 | 67560 | 65680 | 69720 | 65000 | 63160 | 64760 | 61320 | 69000 | 63560 | 75080 | 63080 | 64080 | 61360
69680 | 68680 | 63200 | 70200 | 67160 | 64720 | 65680 | 68400 | 64960 | 69040 | 68800 | 68280 | 71600 | 69560 | 65680 | 65080 | 63000 | 65720 | 62520 | 67240 | 67680 | 69800 | 64200 | 63240
70040 | 69480 | 67560 | 65120 | 69360 | 72480 | 62440 | 62840 | 62080 | 67360 | 56400 | 59440 | 64920 | 67000 | 58200 | 55560 | 63280 | 68400 | 73080 | 68840 | 73200 | 65920 | 66760 | 62360
64800 | 66840 | 63360 | 71400 | 62480 | 63760 | 61080 | 61000 | 63560 | 68320 | 72320 | 70680 | 64320 | 66560 | 54360 | 63640 | 61840 | 65280 | 64280 | 66200 | 64840 | 67400 | 62760 | 60120
41680 | 39920 | 42240 | 39920 | 35760 | 34520 | 36000 | 38960 | 35320 | 35240 | 36840 | 38120 | 30920 | 37920 | 38560 | 46840 | 40080 | 48520 | 34400 | 40000 | 30800 | 32480 | 30320 | 26840
37360 | 40520 | 40880 | 38000 | 33360 | 32960 | 35680 | 33760 | 38400 | 33040 | 38960 | 40760 | 49680 | 36800 | 37880 | 39560 | 38480 | 38480 | 37320 | 36880 | 30240 | 30360 | 30600 | 27840
62480 | 50640 | 33840 | 30280 | 37680 | 38000 | 25920 | 31240 | 37400 | 26480 | 21880 | 22280 | 27760 | 27360 | 32560 | 31240 | 17680 | 33360 | 24160 | 38240 | 23400 | 31560 | 39520 | 40680
42880 | 43400 | 33000 | 31800 | 36080 | 25960 | 39480 | 26120 | 24960 | 29560 | 24640 | 33520 | 25960 | 31720 | 28760 | 28080 | 34040 | 24560 | 34200 | 25520 | 16120 | 11040 | 30000 | 25400
36400 | 34360 | 37760 | 40680 | 32560 | 36600 | 30760 | 33440 | 36800 | 40640 | 45080 | 51520 | 34440 | 35160 | 37080 | 36520 | 31800 | 31480 | 31680 | 31560 | 34440 | 32200 | 42120 | 37840
34840 | 39080 | 32240 | 36240 | 39080 | 36480 | 34040 | 36560 | 37960 | 38880 | 48960 | 52280 | 35280 | 34320 | 33400 | 34040 | 27200 | 26600 | 27440 | 31200 | 34320 | 31960 | 39280 | 38000
70960 | 69080 | 62120 | 63000 | 63640 | 63280 | 67680 | 70960 | 67120 | 67880 | 64000 | 64840 | 61960 | 57680 | 63160 | 65920 | 66880 | 62080 | 66680 | 66800 | 60680 | 63880 | 62600 | 59840
66040 | 67880 | 63520 | 61080 | 60440 | 62800 | 67880 | 66640 | 67080 | 68720 | 64760 | 60240 | 64960 | 64080 | 68440 | 66960 | 61880 | 61440 | 65720 | 65040 | 63960 | 63120 | 63320 | 57160
68840 | 63560 | 57920 | 53560 | 56480 | 56320 | 65640 | 59960 | 65880 | 65040 | 63760 | 66520 | 62880 | 65600 | 64800 | 63920 | 60240 | 60520 | 63000 | 63160 | 61240 | 63840 | 55960 | 55800
60160 | 59760 | 52840 | 49320 | 54760 | 57400 | 62680 | 59920 | 65640 | 59880 | 62000 | 59920 | 65040 | 60200 | 62560 | 61760 | 58360 | 60560 | 60840 | 66120 | 64960 | 62680 | 54440 | 54360
240 | 360 | 360 | 320 | 320 | 280 | 320 | 440 | 320 | 400 | 400 | 360 | 480 | 440 | 480 | 480 | 440 | 440 | 440 | 400 | 400 | 400 | 240 | 280
120 | 200 | 200 | 160 | 200 | 200 | 240 | 240 | 320 | 280 | 240 | 320 | 280 | 320 | 360 | 360 | 280 | 280 | 280 | 240 | 240 | 320 | 240 | 160
Assay ID: |  |  |  | 8204
Assay Started: |  |  |  | 2023-08-25 15:49
Assay Finished: |  |  |  | 2023-08-25 15:52
Assay Exported: |  |  |  | 2023-08-25 15:53
Protocol ID: |  |  |  | 100187
Protocol Name: |  |  |  | CTG Lum 384
Serial#: |  |  |  | 1041497
Protocol information
Protocol:
Protocol name |  |  |  | CTG Lum 384
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Is label meas. height used |  |  |  | Yes
Height of measurement |  |  |  | Defined in label
Is gripper height used |  |  |  | No
Mode of measurement |  |  |  | By Rows, bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 384 General
Number of rows |  |  |  | 16
Number of columns |  |  |  | 24
Number of the wells in the plate |  |  |  | 384
Height of the plate |  |  |  | 14.35 mm
Coordinates of corners:
384 General
12.13 mm x------------------------------------------------------ x 115.63 mm
8.99 mm 8.99 mm
12.13 mm x------------------------------------------------------ x 115.63 mm
76.49 mm 76.49 mm
Platemap:
Plate |  |  |  | 1
Group |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
B | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
C | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
D | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
E | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
F | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
I | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
J | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
K | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
M | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
N | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
O | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
P | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
- - Undefined
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Crosstalk
Formula |  |  |  | Crosstalk where Label : US LUM 384 (cps)(1) channel 1
Auto export parameters:
Export format |  |  |  | Plate
Include basic assay information |  |  |  | Yes
Place assay information at |  |  |  | End of file
Include basic plate information |  |  |  | Yes
Place plate information at |  |  |  | Beginning of plate
Include protocol information |  |  |  | Yes
Protocol info level |  |  |  | Large
Include error and warning information |  |  |  | Yes
Include background information |  |  |  | Yes
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | No
Field separator to use |  |  |  | System
File name format |  |  |  | <DefaultDataFolder>\<Date>\<Time>_<AssayID>.csv
Operations:
Plate 1
Group 1
Measurement
Label |  |  |  | US LUM 384 (cps)(1)
Labels:
US LUM 384 (cps) |  |  |  | 7000004
Measurement height |  |  |  | 0 mm
Measurement time |  |  |  | 0.1 s
CT |  |  |  | 0
Aperture |  |  |  | 384 Plate US Luminescence aperture
Last edited |  |  |  | 2021-08-19 14:45
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Aperture:
384 Plate US Luminescence aperture |  |  |  | 9
Height |  |  |  | 4.2 mm
Diameter |  |  |  | 3.7 mm
Description |  |  |  | Can also be used in 96 plate
Last edited |  |  |  | 2021-08-19 14:45
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 1041497
Nickname |  |  |  | EnVision
Normalization:
Assay notifications:
WARNING: Warning while loading plate. Stacker out of plates. Plate 2 Plate Repeat 1 Well P01
Exported with EnVision Workstation version 1.14.3049.1193